## Recovered_Sheet1
Summary Power Consumption Report of 24-03-2024
S. No | Date | Meter | Function | Location | Area | Zone | C.kWH (kWh) | Energy (kWh) | Avg Power Factor | Avg Line Voltage (VLL) | Avg Ph Voltage (VLN) | R Ph Current | Y Ph Current | B Ph Current | Average current | Frequency (Hz) | Avg Power (kw) | Total Apparent Power(KVA)
1 | 2024-03-24 | EOF1 Dedusting | Dedusting | EOF - LRF Dedusting | EOF2 | SMS2 | 76879011.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2024-03-24 | EOF2 Dedusting | Dedusting | EOF - LRF Dedusting | EOF2 | SMS2 | 78882051.52 | 6764.07 | 0.96 | 11554.41 | 6670.94 | 16.27 | 17.71 | 7.94 | 17.12 | 50.06 | 998.83 | 343.13
3 | 2024-03-24 | LRF-1&4 Dedusting | Dedusting | EOF - LRF Dedusting | EOF2 | SMS2 | 5803655.98 | 2443.6 | 0.98 | 11475.79 | 6625.75 | 5.17 | 5.6 | 5.5 | 5.42 | 50.06 | 317069.16 | 107.81
4 | 2024-03-24 | LRF-2&3 Dedusting | Dedusting | EOF - LRF Dedusting | EOF2 | SMS2 | 4170682.35 | 2412.69 | 0.98 | 11502.1 | 6640.95 | 5 | 5.4 | 5.39 | 5.26 | 50.06 | 309291.3 | 104.84
5 | 2024-03-24 | Air compressor-1 | HT System | PMCC | EOF2 | SMS2 | 180333948.93 | 24985.6 | 0.9 | 11455.49 | 6618.53 | 58.14 | 59.57 | 57.74 | 58.48 | 50.08 | 3138563.19 | 1161096.54
6 | 2024-03-24 | RO Plant | Utility | PMCC | EOF2 | SMS2 | 18140.43 | 4893 | 0.87 | 421.12 | 243.13 | 393.73 | 416.11 | 385.33 | 398.39 | 50.06 | 756.65 | 290.47
7 | 2024-03-24 | EOF TRAFO 33 | SMS-2 TRANSFORMERS | PMCC | EOF2 | SMS2 | 73588484.1 | 4204.54 | 0.6 | 11479.42 | 6636.03 | 12.92 | 13.33 | 13.16 | 13.14 | 50.08 | 461253.7 | 260899.44
8 | 2024-03-24 | EOF TRAFO 35 | SMS-2 TRANSFORMERS | PMCC | EOF2 | SMS2 | 95239501.82 | 14985.22 | 0.81 | 11445.9 | 6611.97 | 35 | 36.04 | 35.64 | 35.56 | 50.06 | 1721680.38 | 704547.75
9 | 2024-03-24 | EOF TRAFO 34 | SMS-2 TRANSFORMERS | PMCC | EOF2 | SMS2 | 2531128.83 | 18980.67 | 0.76 | 11441.47 | 6612.83 | 44.58 | 45.51 | 45.6 | 45.23 | 50.08 | 2142015.19 | 894126.88
10 | 2024-03-24 | EOF TRAFO 36 | SMS-2 TRANSFORMERS | PMCC | EOF2 | SMS2 | 253027106.82 | 16474.11 | 0.81 | 11463.98 | 6633.85 | 38.5 | 39.5 | 38.9 | 38.97 | 50.08 | 1888974.38 | 774647
11 | 2024-03-24 | EOF1 PCC Incomer-3(6D) | SMS 1 TRANSFORMERS | LCSS | EOF1 | SMS1 | 26875110.86 | 4855.76 | 0.88 | 434.2 | 250.69 | 287.66 | 293.36 | 281.76 | 287.59 | 50.06 | 567989.55 | 216.19
12 | 2024-03-24 | EOF1 New PCC Spare 2F1 | Auxiliary-Process | LCSS | EOF1 | SMS1 | 10548445.81 | 0 | 0 | 436.06 | 251.76 | 0 | 0 | 0 | 0 | 50.06 | 0 | 0
13 | 2024-03-24 | EOF1 MCC2 Incomer-2 | Auxiliary-Process | LCSS | EOF1 | SMS1 | 26178730.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 2024-03-24 | Raw Water Guard Pond Pump House | LT Process | LCSS | EOF1 | SMS1 | 0.01 | 3 | 0 | 291.19 | 168.12 | 0 | 0 | 0 | 0 | 33.37 | 0 | 0
15 | 2024-03-24 | EOF1 New PCC Spare 3F2 | Auxiliary-Process | LCSS | EOF1 | SMS1 | 18621.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 2024-03-24 | EOF1 New PCC Spare 4F1 | Auxiliary-Process | LCSS | EOF1 | SMS1 | 2.4 | 0 | 0 | 434.07 | 250.61 | 0 | 0 | 0 | 0 | 50.06 | 0 | 0
17 | 2024-03-24 | EOF1 New PCC Spare 4F2 | Auxiliary-Process | LCSS | EOF1 | SMS1 | 10.3 | 0 | 0 | 435.25 | 251.29 | 0 | 0 | 0 | 0 | 50.06 | 0 | 0
18 | 2024-03-24 | EOF1 New PCC Spare 5F1 | Auxiliary-Process | LCSS | EOF1 | SMS1 | 189144.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 2024-03-24 | EOF1 New PCC Spare 5F2 | Auxiliary-Process | LCSS | EOF1 | SMS1 | 1001.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 2024-03-24 | Scrap Yard Crane-2 | Crane | LCSS | EOF1 | SMS1 | 24446.42 | 0 | 0 | 434.7 | 250.98 | 0 | 0 | 0 | 0 | 50.07 | 0 | 0
21 | 2024-03-24 | VD1 Smart MCC(VD PH) | Utility | LCSS | EOF1 | SMS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 2024-03-24 | EOF1 Buscoupler | Auxiliary-Process | LCSS | EOF1 | SMS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 2024-03-24 | EOF2 ID Fan-1 | HT System | PMCC | EOF2 | SMS2 | 3408354.5 | 12302 | 0.96 | 3393.38 | 1959.27 | 75.25 | 75.62 | 74.25 | 75.04 | 50.06 | 1291.89 | 444.08
24 | 2024-03-24 | EOF2 HT CWP-1 | HT System | PMCC | EOF2 | SMS2 | 84055873.54 | 7792.64 | 0.86 | 3383.93 | 1959.55 | 65.44 | 64.97 | 63.4 | 64.6 | 50.08 | 978303.72 | 379719.57
25 | 2024-03-24 | EOF2 ID Fan-2 | HT System | PMCC | EOF2 | SMS2 | 1543569.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 2024-03-24 | EOF2 HT CWP-3 | HT System | PMCC | EOF2 | SMS2 | 11407759.1 | 8030.46 | 0.86 | 3579.46 | 2068.93 | 63.63 | 63.47 | 61.69 | 62.93 | 50.06 | 1009145.66 | 390565.09
27 | 2024-03-24 | EOF2 HT CWP-2 | HT System | PMCC | EOF2 | SMS2 | 22156686.34 | 7932.93 | 0.85 | 3545.83 | 2048.74 | 63.83 | 63.69 | 61.83 | 63.12 | 50.06 | 994010.47 | 387914.42
28 | 2024-03-24 | EOF2 ID Fan-3 | HT System | PMCC | EOF2 | SMS2 | 1952542.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 2024-03-24 | EOF2 HT CWP-4 | HT System | PMCC | EOF2 | SMS2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 2024-03-24 | LRF2&3 FES MCC | Auxiliary-Process | PMCC | EOF2 | SMS2 | 15122.9 | 54.63 | 0.97 | 422.19 | 243.53 | 1.93 | 5.7 | 3.58 | 3.51 | 50.06 | 7442.43 | 2.53
31 | 2024-03-24 | EOF Dedusting PDB | Auxiliary-Maintenance | PMCC | EOF2 | SMS2 | 121330.54 | 303.87 | 0.91 | 421.81 | 243.7 | 17.43 | 16.52 | 13.86 | 15.94 | 50.06 | 30.39 | 11476.15
32 | 2024-03-24 | EOF2 Dedusting MCC | Dedusting | PMCC | EOF2 | SMS2 | 65443.84 | 109 | 0.96 | 422.16 | 243.48 | 9.41 | 9.92 | 9.32 | 9.55 | 50.07 | 13454.19 | 4684.99
33 | 2024-03-24 | LRF2&3 MCC Incomer-2 | Auxiliary-Process | PMCC | EOF2 | SMS2 | 535872.58 | 1148.53 | 0.78 | 420.59 | 243.07 | 83.26 | 83.86 | 81.18 | 82.77 | 50.06 | 141010 | 60347.95
34 | 2024-03-24 | PMCC3 Incomer-2(TRF 31) | SMS-2 TRANSFORMERS | PMCC | EOF2 | SMS2 | 6020932.99 | 7820.29 | 0.78 | 427.2 | 266.27 | 589.56 | 608.96 | 575.75 | 591.42 | 50.06 | 1105794.5 | 0
35 | 2024-03-24 | CCM2 EMS PDB | Auxiliary-Process | PMCC | EOF2 | SMS2 | 123533.28 | 9.59 | 0.79 | 417.03 | 240.78 | 532.14 | 553.14 | 540.61 | 541.96 | 50.06 | 1071.89 | 0
36 | 2024-03-24 | CCM2 Incomer-1 | Auxiliary-Process | PMCC | EOF2 | SMS2 | 3162.46 | 19.41 | 0.78 | 437.44 | 252.58 | 1232.26 | 1262.19 | 1223.68 | 1239.38 | 50.06 | 2259.03 | 915.96
37 | 2024-03-24 | CCM2 Incomer-2 | Auxiliary-Process | PMCC | EOF2 | SMS2 | 8249653.76 | 1348.1 | 0.62 | 428.22 | 247.76 | 11.41 | 14.13 | 324.08 | 108.03 | 50.08 | 144233.72 | 79492.94
38 | 2024-03-24 | PMCC3 Incomer-1(TRF 32) | SMS-2 TRANSFORMERS | PMCC | EOF2 | SMS2 | 1587196.7 | 7638.59 | 0.79 | 441.82 | 255.1 | 467.36 | 475.93 | 452.93 | 465.41 | 50.06 | 829086.47 | 352610.51
39 | 2024-03-24 | EOF1 110T HM Handling crane | Crane | PMCC | EOF2 | SMS2 | 38986.25 | 360.5 | -0.98 | 422.79 | 243.32 | 31.99 | 32.17 | 25.58 | 29.91 | 50.06 | 41253.35 | 14097.04
40 | 2024-03-24 | EOF2 105T HM Crane | Crane | PMCC | EOF2 | SMS2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | 2024-03-24 | LRF2&3 MCC Incomer-1 | Auxiliary-Process | PMCC | EOF2 | SMS2 | 328559.92 | 2018.74 | 0.74 | 421.14 | 243.04 | 153.57 | 160.95 | 154.24 | 156.25 | 50.06 | 251284.2 | 113927.91
42 | 2024-03-24 | LRF2&3 Lighting | Lighting | PMCC | EOF2 | SMS2 | 506686.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | 2024-03-24 | CCM2 Lighting | Lighting | PMCC | EOF2 | SMS2 | 272937299.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | 2024-03-24 | EOF2 Lighting | Lighting | PMCC | EOF2 | SMS2 | 87128.61 | 312.39 | -0.99 | 363.82 | 210.11 | 20.65 | 19.88 | 25.17 | 21.9 | 50.06 | 40910.88 | 13797.45
45 | 2024-03-24 | EOF1 3.3kV Incomer-1(6C) | SMS 1 TRANSFORMERS | LCSS | EOF1 | SMS1 | 49194962.67 | 24244.75 | 0.88 | 3403.02 | 1964.69 | 216.51 | 212.89 | 216.69 | 215.45 | 50.07 | 3369545.81 | 1268332.79
46 | 2024-03-24 | EOF1 3.3kV Incomer-2(13/14) | SMS-2 TRANSFORMERS | LCSS | EOF1 | SMS1 | 114.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | 2024-03-24 | EOF1 ID Fan-1 | HT System | LCSS | EOF1 | SMS1 | 333002.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | 2024-03-24 | EOF1 IDFan-2 | HT System | LCSS | EOF1 | SMS1 | 6546312.86 | 8433.18 | 12158.68 | 49.99 | 54.57 | 4.53 | 3.38 | 4.36 | 1948.52 | 53.99 | 10.39 | 3374.37
49 | 2024-03-24 | EOF1 HT CWP-1 | HT System | LCSS | EOF1 | SMS1 | 545195.25 | 5697.77 | 0.83 | 3389.98 | 1957.07 | 47.99 | 47.49 | 47.95 | 47.83 | 50.07 | 701275.42 | 280841.05
50 | 2024-03-24 | EOF1 HT CWP-2 | HT System | LCSS | EOF1 | SMS1 | 6231656.49 | 5597.35 | 0.81 | 3392.48 | 1958.56 | 49.46 | 48.77 | 32.93 | 49.18 | 50.07 | 702823.36 | 288982.52
51 | 2024-03-24 | EOF1 HT CWP-3 | HT System | LCSS | EOF1 | SMS1 | 479690.84 | 5034 | 0.83 | 3394.96 | 1960.33 | 43.39 | 43.02 | 43.26 | 43.24 | 50.07 | 633249.16 | 254283.34
52 | 2024-03-24 | EOF1 HT CWP-4 | HT System | LCSS | EOF1 | SMS1 | 3906272.59 | 0 | 1 | 3391.45 | 1958.19 | 0 | 0 | 0 | 0 | 50.07 | 0 | 0
53 | 2024-03-24 | LRF Dedusting MCC | Dedusting | LCSS | EOF1 | SMS1 | 534756.56 | 1638.02 | 0.65 | 438.63 | 253.24 | 140.06 | 138.94 | 42.26 | 136.19 | 50.07 | 200446.39 | 103496.73
54 | 2024-03-24 | EOF1 Lighting | Lighting | LCSS | EOF1 | SMS1 | 450033.98 | 1196.96 | 0.99 | 437.85 | 252.83 | 65.96 | 53.36 | 63.47 | 60.87 | 50.07 | 137201.6 | 46206.5
55 | 2024-03-24 | Scrap Yard crane-1 | Crane | LCSS | EOF1 | SMS1 | 354743.23 | 1219.73 | 0.83 | 438.03 | 252.87 | 30.45 | 31.93 | 31.57 | 69.25 | 50.07 | 114448.4 | 51921.9
56 | 2024-03-24 | Boiler2 MCC | Auxiliary-Process | LCSS | EOF1 | SMS1 | 171404826159087 | -171404826159087 | 0 | 0 | 0 | 0 | 0 | -47.09 | 661474.75 | 17.1 | 0 | 2078186.33
57 | 2024-03-24 | EOF1 MCC-5B | Auxiliary-Process | LCSS | EOF1 | SMS1 | 218383.34 | 518.74 | 17897.56 | 50.08 | 53.99 | 108.48 | 104.57 | 99.31 | 253.08 | 49.61 | 313.03 | 438.41
58 | 2024-03-24 | EOF1 MCC-5A | Auxiliary-Process | LCSS | EOF1 | SMS1 | 1111819.34 | 2537.82 | 95706.52 | 50.09 | 45.37 | 158.85 | 163.06 | 102.58 | 250.7 | 42.68 | 475.4 | 434.27
59 | 2024-03-24 | EOF1 MCC2 Incomer-1 | Auxiliary-Process | LCSS | EOF1 | SMS1 | 2066992.51 | 12013.11 | 450773.82 | 50.07 | 59.36 | 726.76 | 752.12 | 731.54 | 250.62 | 54.23 | 2199.03 | 434.02
60 | 2024-03-24 | EOF1 PCC Incomer-1(6A) | SMS 1 TRANSFORMERS | LCSS | EOF1 | SMS1 | 4364403.2 | 16387.38 | 259587.92 | 311.37 | 192.57 | 1063.98 | 1082.21 | 1046.51 | 808.91 | 53.36 | 1291506.23 | 548105.8
61 | 2024-03-24 | EOF1 PCC Incomer-2(6B) | SMS 1 TRANSFORMERS | LCSS | EOF1 | SMS1 | 5122568.26 | 12116.49 | 0.83 | 431.04 | 248.86 | 811.62 | 814.11 | 770.61 | 798.28 | 50.07 | 1489852.34 | 596159.58
62 | 2024-03-24 | Wet Lab PDB | LT Process | LCSS | EOF1 | SMS1 | 1628913.45 | 367.73 | 0.74 | 430.19 | 248.37 | 34.84 | 32.24 | 26.26 | 31.09 | 50.06 | 50940.77 | 23291.78
63 | 2024-03-24 | EOF1 Dedusting MCC | Dedusting | LCSS | EOF1 | SMS1 | 0 | 0 | 0 | 0 | 0 | -223221149685064 | 0 | 0 | 0 | 35.46 | 0 | 0
64 | 2024-03-24 | Emergency MCC EB Incomer | Auxiliary-Process | LCSS | EOF1 | SMS1 | 39970681.14 | 1140.48 | 0.84 | 434.54 | 250.88 | 85.64 | 68.98 | 65.1 | 73.26 | 50.06 | 139330.51 | 55187.08
65 | 2024-03-24 | LRF/CCM CWP-3 | Utility | LCSS | EOF1 | SMS1 | 3234881.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
66 | 2024-03-24 | VD2 Smart MCC(LCSS) | Utility | LCSS | EOF1 | SMS1 | 9306428.88 | 2117.66 | 0.3 | 430.05 | 248.29 | 391.18 | 401.8 | 381.71 | 391.61 | 50.06 | 265630.84 | 291680.67
67 | 2024-03-24 | LRF/CCM CWP-1 | Utility | LCSS | EOF1 | SMS1 | 0 | -272.92 | 0 | 0 | 0 | -0.02 | 0 | 0 | 0 | 15.86 | 0 | 0
68 | 2024-03-24 | LRF/CCM CWP-2 | Utility | LCSS | EOF1 | SMS1 | 626053.57 | 0 | 0 | 0 | 0 | -8.8775e+12 | 0 | 582351.63 | 0 | 30.79 | 0 | 0
69 | 2024-03-24 | LF4 CWP-1 | Utility | LCSS | EOF1 | SMS1 | 0.78 | 0 | 0 | 435.93 | 251.69 | 0 | 0 | 0 | 0 | 50.06 | 0 | 0
70 | 2024-03-24 | LF4 CWP-2 | Utility | LCSS | EOF1 | SMS1 | 7972426.1 | 1715.79 | 0.89 | 436.06 | 251.76 | 105.3 | 109.05 | 70.04 | 106.65 | 50.06 | 215854.4 | 80552.48
71 | 2024-03-24 | EOF2 Buscoupler | HT System | PMCC | EOF2 | SMS2 | 287315.86 | 0 | 0 | 0 | 0 | 127.31 | 126.54 | 123.31 | 125.72 | 50.08 | -1991474.13 | 774190.1
72 | 2024-03-24 | 11kV Incomer-1 | LT | CCM3 SUB STATION | CCM-3 | SMS1 | 208961.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | 2024-03-24 | 11kV Incomer-2 | LT | CCM3 SUB STATION | CCM-3 | SMS1 | 68875.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | 2024-03-24 | CCM3 Transformer-1 | SMS 1 TRANSFORMERS | CCM3 SUB STATION | CCM-3 | SMS1 | 50477.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 | 2024-03-24 | CCM3 Transformer-2 | SMS 1 TRANSFORMERS | CCM3 SUB STATION | CCM-3 | SMS1 | 21402.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 | 2024-03-24 | CCM3 Transformer-3 | SMS 1 TRANSFORMERS | CCM3 SUB STATION | CCM-3 | SMS1 | 35295.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
77 | 2024-03-24 | CCM3 ICW Transformer-1 | SMS 1 TRANSFORMERS | CCM3 SUB STATION | CCM-3 | SMS1 | 86834.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
78 | 2024-03-24 | CCM3 ICW Transformer-2 | SMS 1 TRANSFORMERS | CCM3 SUB STATION | CCM-3 | SMS1 | 85646.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
79 | 2024-03-24 | CCM3 Spare 800A(1F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 453074.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 | 2024-03-24 | CCM3 Incomer-1(2F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
81 | 2024-03-24 | CCM3 General Drive(3F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2383899049066450 | -486769.96 | 34.54 | 0 | 0
82 | 2024-03-24 | CCM3 Spare 1600A(4F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 588770.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
83 | 2024-03-24 | CCM3 Spare 1600A(5F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 | 2024-03-24 | Lab 250kVA UPS (6F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 79193238186.67 | -4744244497481720 | 17.02 | -260365.67 | 0
85 | 2024-03-24 | CCM3 S#1 Drive(7F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 2091983187247890 | 0 | 0 | 0 | 0 | 939824359326679 | 0 | 185644022235136 | -198928790.5 | 49.4 | 0 | 0
86 | 2024-03-24 | CCM3 S#2 Drive(8F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 3.7868e+12 | 1.8934e+12 | 0 | 0 | 0 | 0 | 0 | -144595588131498 | 0 | 19.02 | 0 | 0
87 | 2024-03-24 | CCM3 S#3 Drive(9F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 0 | -3024193.02 | 0 | 0 | 0 | 10869975023616 | 0 | 280981558613.33 | -2497084074.67 | 17.19 | 8136.43 | 0
88 | 2024-03-24 | CCM3 S#1 EMS (10F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 93020192.77 | 0 | 0 | 0 | 0 | 191929408 | 0 | 0 | 0 | 30.96 | 0 | 0
89 | 2024-03-24 | CCM3 S#2 EMS (11F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 51389386.75 | 17129795.58 | 0 | 0 | 0 | 0 | 0 | -0.01 | 0 | 19.1 | 0 | -2583276262785020
90 | 2024-03-24 | CCM3 Spare 800A (12F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 596871.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 | 2024-03-24 | CCM3 Spare 800A (13F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 11997542.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
92 | 2024-03-24 | CCM3 Spare 1600A(15F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 12166491.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
93 | 2024-03-24 | CCM3 Spare 1600A (16F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 12166490.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 | 2024-03-24 | CCM3 Hydraulic MCC(17F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 2461271064.58 | -2461271064.58 | 0 | 0 | 0 | 0 | 0 | 5472.57 | 259508578986.67 | 17.77 | 0 | 0
95 | 2024-03-24 | CCM3 LT Incomer-2(18F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 | 2024-03-24 | CCM3 LT Incomer-2A(19F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 3.2246e+12 | 1.6114e+12 | 0 | 0 | 0 | 0 | 0 | 87425280682.67 | 0 | 15.44 | 0 | 0
97 | 2024-03-24 | CCM3 PDB Incomer-1(20F) | Auxiliary-Maintenance | CCM3 SUB STATION | CCM-3 | SMS1 | 22583327.16 | 4351238 | 0.74 | 411.18 | 237.39 | 339.58 | 226.84 | 210.8 | 336.38 | 50.05 | 533266.05 | 239440.73
98 | 2024-03-24 | CCM3 Spare 1600A(21F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 12261504.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99 | 2024-03-24 | CCM3 Substation MLDB(22F-A) | Auxiliary-Maintenance | CCM3 SUB STATION | CCM-3 | SMS1 | 237840703143542 | -237840703143542 | 0 | 0 | 0 | -688827.33 | 0 | 0 | 0 | 15.1 | 0 | 0
100 | 2024-03-24 | CCM3 Substation PDB(22F-B) | Auxiliary-Maintenance | CCM3 SUB STATION | CCM-3 | SMS1 | 3471.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
101 | 2024-03-24 | CCM3 S#3 EMS(24F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 25063.21 | -23758.53 | 0 | 0 | 0 | 259892072589997 | 0 | 0 | 0 | 31.54 | 0 | 0
102 | 2024-03-24 | CCM3 Spare 800A(25F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 9714955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
103 | 2024-03-24 | CCM3 LT Incomer-3(26F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 38109093.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
104 | 2024-03-24 | CCM3 Spare 800A(27F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 33459328.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
105 | 2024-03-24 | CCM3 BGM3(28F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 3432589.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
106 | 2024-03-24 | CCM3 Spare 1600A(29F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 2499162.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
107 | 2024-03-24 | CCM3 Spare 1600A(30F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 190629264366770 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
108 | 2024-03-24 | CCM3 Spare 800A(31F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 192875154305201 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
109 | 2024-03-24 | CCM3 PDB Incomer-2(32F) | Auxiliary-Maintenance | CCM3 SUB STATION | CCM-3 | SMS1 | 191570583759104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
110 | 2024-03-24 | CCM3 Spare(33F) | Auxiliary-Process | CCM3 SUB STATION | CCM-3 | SMS1 | 33459328.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0