## Ip_address
Messer EMS
S.No | Machine Names | IP address | slave ID | Machine code | Port | Machine Address | Parameter | IP address | slave ID | Port | Machine Address | Machine Names | IP address | slave ID | Machine code | Port | Machine Address | Parameter | IP address | slave ID | Port | Machine Address
1 | Stress Releiving Furnace | 10.30.170.30 | 1 | 560117 | 8899 | 803 | 5 | 10.30.170.30 | 1 | 8899 | 803 | Stress Releiving Furnace | 10.30.170.30 | 1 | 560117 | 560101 | 803 | 5 | 10.30.170.30 | 1 | 560101 | 803
2 | Oxyfuel | 10.30.170.31 | 1 | Oxyfuel | 8899 | 811 | 5 | 10.30.170.30 | 1 | 8899 | 803 | Oxyfuel | 10.30.170.31 | 1 | Oxyfuel | 560101 | 811 | 5 | 10.30.170.30 | 1 | 560101 | 803
3 | Office Bulding | 10.30.170.32 | 1 | OFB | 8899 | 808 | 5 | 10.30.170.31 | 1 | 8899 | 803 | Office Bulding | 10.30.170.32 | 1 | OFB | 560101 | 808 | 5 | 10.30.170.31 | 1 | 560101 | 803
4 | Compressor 15Hp | 10.30.170.33 | 2 | Compressor 15Hp | 8899 | 812 | 5 | 10.30.170.32 | 1 | 8899 | 803 | Compressor 15Hp | 10.30.170.33 | 2 | Compressor 15Hp | 560101 | 812 | 5 | 10.30.170.32 | 1 | 560101 | 803
5 | Compressor 20Hp |  | 1 | Compressor 20Hp | 8899 | 813 | 5 | 10.30.170.33 | 1 | 8899 | 803 | Compressor 20Hp |  | 1 | Compressor 20Hp | 560101 | 813 | 5 | 10.30.170.33 | 1 | 560101 | 803
6 | STP | 10.30.170.34 | 2 | STP | 8899 | 814 | 5 | 10.30.170.34 | 1 | 8899 | 803 | STP | 10.30.170.34 | 2 | STP | 560101 | 814 | 5 | 10.30.170.34 | 1 | 560101 | 803
7 | Canteen |  | 1 | Canteen | 8899 | 815 | 5 | 10.30.170.35 | 1 | 8899 | 803 | Canteen |  | 1 | Canteen | 560101 | 815 | 5 | 10.30.170.35 | 1 | 560101 | 803
8 | CNC Press Brake-1 | 10.30.170.35 | 1 | 560101 | 8899 | 792 | 4 | 10.30.170.36 | 1 | 8899 | 803 | CNC Press Brake-1 | 10.30.170.35 | 1 | 560101 | 560101 | 792 | 4 | 10.30.170.36 | 1 | 560101 | 803
9 | CNC Press Brake-2 | 10.30.170.36 | 1 | 560102 | 8899 | 793 | 4 | 10.30.170.37 | 1 | 8899 | 803 | CNC Press Brake-2 | 10.30.170.36 | 1 | 560102 | 560101 | 793 | 4 | 10.30.170.37 | 1 | 560101 | 803
10 | Radial Drilling-1 | 10.30.170.37 | 1 | 560103 | 8899 | 796 | 4 | 10.30.170.38 | 1 | 8899 | 803 | Radial Drilling-1 | 10.30.170.37 | 1 | 560103 | 560101 | 796 | 4 | 10.30.170.38 | 1 | 560101 | 803
11 | Radial Drilling-2 | 10.30.170.38 | 1 | 560104 | 8899 | 797 | 4 | 10.30.170.39 | 1 | 8899 | 803 | Radial Drilling-2 | 10.30.170.38 | 1 | 560104 | 560101 | 797 | 4 | 10.30.170.39 | 1 | 560101 | 803
12 | Welding-1 | 10.30.170.39 | 1 | 560105 | 8899 | 804 | 6 | 10.30.170.40 | 1 | 8899 | 803 | Welding-1 | 10.30.170.39 | 1 | 560105 | 560101 | 804 | 6 | 10.30.170.40 | 1 | 560101 | 803
13 | Welding-2 | 10.30.170.40 | 1 | 560106 | 8899 | 805 | 6 | 10.30.170.41 | 1 | 8899 | 803 | Welding-2 | 10.30.170.40 | 1 | 560106 | 560101 | 805 | 6 | 10.30.170.41 | 1 | 560101 | 803
14 | Welding-3 | 10.30.170.41 | 1 | 560107 | 8899 | 806 | 6 | 10.30.170.42 | 1 | 8899 | 803 | Welding-3 | 10.30.170.41 | 1 | 560107 | 560101 | 806 | 6 | 10.30.170.42 | 1 | 560101 | 803
15 | Welding-4 | 10.30.170.42 | 1 | 560108 | 8899 | 807 | 6 | 10.30.170.43 | 1 | 8899 | 803 | Welding-4 | 10.30.170.42 | 1 | 560108 | 560101 | 807 | 6 | 10.30.170.43 | 1 | 560101 | 803
16 | Welding-5 | 10.30.170.28 | 1 | 560109 | 8899 | 819 | 6 | 10.30.170.44 | 1 | 8899 | 803 | Welding-5 | 10.30.170.28 | 1 | 560109 | 560101 | 819 | 6 | 10.30.170.44 | 1 | 560101 | 803
17 | Welding-6 | 10.30.170.29 | 1 | 560110 | 8899 | 820 | 6 | 10.30.170.45 | 1 | 8899 | 803 | Welding-6 | 10.30.170.29 | 1 | 560110 | 560101 | 820 | 6 | 10.30.170.45 | 1 | 560101 | 803
18 | CNC Gantry Miling-1 | 10.30.170.43 | 1 | 560111 | 8899 | 787 | 4 | 10.30.170.46 | 1 | 8899 | 803 | CNC Gantry Miling-1 | 10.30.170.43 | 1 | 560111 | 560101 | 787 | 4 | 10.30.170.46 | 1 | 560101 | 803
19 | CNC Gantry Miling-2 | 10.30.170.44 | 1 | 560112 | 8899 | 788 | 4 | 10.30.170.47 | 1 | 8899 | 803 | CNC Gantry Miling-2 | 10.30.170.44 | 1 | 560112 | 560101 | 788 | 4 | 10.30.170.47 | 1 | 560101 | 803
20 | Bandsaw cutting-1 | 10.30.170.45 | 1 | 560115 | 8899 | 783 | 6 | 10.30.170.48 | 1 | 8899 | 803 | Bandsaw cutting-1 | 10.30.170.45 | 1 | 560115 | 560101 | 783 | 6 | 10.30.170.48 | 1 | 560101 | 803
21 | Shot Blasting Booth | 10.30.170.46 | 1 | 560118 | 8899 | 800 | 6 | 10.30.170.49 | 1 | 8899 | 803 | Shot Blasting Booth | 10.30.170.46 | 1 | 560118 | 560101 | 800 | 6 | 10.30.170.49 | 1 | 560101 | 803
22 | Painting Booth | 10.30.170.47 | 1 | 560119 | 8899 | 791 | 6 | 10.30.170.50 | 1 | 8899 | 803 | Painting Booth | 10.30.170.47 | 1 | 560119 | 560101 | 791 | 6 | 10.30.170.50 | 1 | 560101 | 803
23 | Baking Oven | 10.30.170.48 | 1 | 560120 | 8899 | 784 | 6 | 10.30.170.51 | 1 | 8899 | 803 | Baking Oven | 10.30.170.48 | 1 | 560120 | 560101 | 784 | 6 | 10.30.170.51 | 1 | 560101 | 803
24 | Plasma-Demo-1 | 10.30.170.49 | 2 | 560113 | 8899 | 774 | 5 | 10.30.170.52 | 1 | 8899 | 803 | Plasma-Demo-1 | 10.30.170.49 | 2 | 560113 | 560101 | 774 | 5 | 10.30.170.52 | 1 | 560101 | 803
25 | Plasma-Demo-2 |  | 1 | 560114 | 8899 | 785 | 5 | 10.30.170.53 | 1 | 8899 | 803 | Plasma-Demo-2 |  | 1 | 560114 | 560101 | 785 | 5 | 10.30.170.53 | 1 | 560101 | 803
26 | CNC Flame Cutting Filter System |  | 3 | Fume extractor | 8899 | 795 | 5 | 10.30.170.54 | 1 | 8899 | 803 | CNC Flame Cutting Filter System |  | 3 | Fume extractor | 560101 | 795 | 5 | 10.30.170.54 | 1 | 560101 | 803
27 | Compressor 75Hp |  | 4 | Compressor 75Hp | 8899 | 801 | 5 | 10.30.170.55 | 1 | 8899 | 803 | Compressor 75Hp |  | 4 | Compressor 75Hp | 560101 | 801 | 5 | 10.30.170.55 | 1 | 560101 | 803
28 | EB-MAIN | 10.30.170.33 | 5 | EB | 8899 | 816 | 5 | 10.30.170.56 | 1 | 8899 | 803 | EB-MAIN | 10.30.170.33 | 5 | EB | 560101 | 816 | 5 | 10.30.170.56 | 1 | 560101 | 803
29 | 125kvA Generator |  | 3 | DG1 | 8899 | 817 | 5 | 10.30.170.57 | 1 | 8899 | 803 | 125kvA Generator |  | 3 | DG1 | 560101 | 817 | 5 | 10.30.170.57 | 1 | 560101 | 803
30 | 500kvA Generator |  | 4 | DG2 | 8899 | 818 | 5 | 10.30.170.58 | 1 | 8899 | 803 | 500kvA Generator |  | 4 | DG2 | 560101 | 818 | 5 | 10.30.170.58 | 1 | 560101 | 803
31 | Stress Releiving Furnace | 10.30.170.30 | 1 | 560117 | 8899 | 803 | 5 | 10.30.170.59 | 1 | 8899 | 803 | Stress Releiving Furnace | 10.30.170.30 | 1 | 560117 | 560101 | 803 | 5 | 10.30.170.59 | 1 | 560101 | 803
32 | Oxyfuel | 10.30.170.31 | 1 | Oxyfuel | 8899 | 811 | 5 | 10.30.170.60 | 1 | 8899 | 803 | Oxyfuel | 10.30.170.31 | 1 | Oxyfuel | 560101 | 811 | 5 | 10.30.170.60 | 1 | 560101 | 803
33 | Office Bulding | 10.30.170.32 | 1 | OFB | 8899 | 808 | 5 | 10.30.170.61 | 1 | 8899 | 803 | Office Bulding | 10.30.170.32 | 1 | OFB | 560101 | 808 | 5 | 10.30.170.61 | 1 | 560101 | 803
34 | Compressor 15Hp | 10.30.170.33 | 2 | Compressor 15Hp | 8899 | 812 | 5 | 10.30.170.62 | 1 | 8899 | 803 | Compressor 15Hp | 10.30.170.33 | 2 | Compressor 15Hp | 560101 | 812 | 5 | 10.30.170.62 | 1 | 560101 | 803
35 | Compressor 20Hp |  | 1 | Compressor 20Hp | 8899 | 813 | 5 | 10.30.170.63 | 1 | 8899 | 803 | Compressor 20Hp |  | 1 | Compressor 20Hp | 560101 | 813 | 5 | 10.30.170.63 | 1 | 560101 | 803
36 | STP | 10.30.170.34 | 2 | STP | 8899 | 814 | 5 | 10.30.170.64 | 1 | 8899 | 803 | STP | 10.30.170.34 | 2 | STP | 560101 | 814 | 5 | 10.30.170.64 | 1 | 560101 | 803
37 | Canteen |  | 1 | Canteen | 8899 | 815 | 5 | 10.30.170.65 | 1 | 8899 | 803 | Canteen |  | 1 | Canteen | 560101 | 815 | 5 | 10.30.170.65 | 1 | 560101 | 803
38 | CNC Press Brake-1 | 10.30.170.35 | 1 | 560101 | 8899 | 792 | 4 | 10.30.170.66 | 1 | 8899 | 803 | CNC Press Brake-1 | 10.30.170.35 | 1 | 560101 | 560101 | 792 | 4 | 10.30.170.66 | 1 | 560101 | 803
39 | CNC Press Brake-2 | 10.30.170.36 | 1 | 560102 | 8899 | 793 | 4 | 10.30.170.67 | 1 | 8899 | 803 | CNC Press Brake-2 | 10.30.170.36 | 1 | 560102 | 560101 | 793 | 4 | 10.30.170.67 | 1 | 560101 | 803
40 | Radial Drilling-1 | 10.30.170.37 | 1 | 560103 | 8899 | 796 | 4 | 10.30.170.68 | 1 | 8899 | 803 | Radial Drilling-1 | 10.30.170.37 | 1 | 560103 | 560101 | 796 | 4 | 10.30.170.68 | 1 | 560101 | 803
41 | Radial Drilling-2 | 10.30.170.38 | 1 | 560104 | 8899 | 797 | 4 | 10.30.170.69 | 1 | 8899 | 803 | Radial Drilling-2 | 10.30.170.38 | 1 | 560104 | 560101 | 797 | 4 | 10.30.170.69 | 1 | 560101 | 803
42 | Welding-1 | 10.30.170.39 | 1 | 560105 | 8899 | 804 | 6 | 10.30.170.70 | 1 | 8899 | 803 | Welding-1 | 10.30.170.39 | 1 | 560105 | 560101 | 804 | 6 | 10.30.170.70 | 1 | 560101 | 803
43 | Welding-2 | 10.30.170.40 | 1 | 560106 | 8899 | 805 | 6 | 10.30.170.71 | 1 | 8899 | 803 | Welding-2 | 10.30.170.40 | 1 | 560106 | 560101 | 805 | 6 | 10.30.170.71 | 1 | 560101 | 803
44 | Welding-3 | 10.30.170.41 | 1 | 560107 | 8899 | 806 | 6 | 10.30.170.72 | 1 | 8899 | 803 | Welding-3 | 10.30.170.41 | 1 | 560107 | 560101 | 806 | 6 | 10.30.170.72 | 1 | 560101 | 803
45 | Welding-4 | 10.30.170.42 | 1 | 560108 | 8899 | 807 | 6 | 10.30.170.73 | 1 | 8899 | 803 | Welding-4 | 10.30.170.42 | 1 | 560108 | 560101 | 807 | 6 | 10.30.170.73 | 1 | 560101 | 803
46 | Welding-5 | 10.30.170.28 | 1 | 560109 | 8899 | 819 | 6 | 10.30.170.74 | 1 | 8899 | 803 | Welding-5 | 10.30.170.28 | 1 | 560109 | 560101 | 819 | 6 | 10.30.170.74 | 1 | 560101 | 803
47 | Welding-6 | 10.30.170.29 | 1 | 560110 | 8899 | 820 | 6 | 10.30.170.75 | 1 | 8899 | 803 | Welding-6 | 10.30.170.29 | 1 | 560110 | 560101 | 820 | 6 | 10.30.170.75 | 1 | 560101 | 803
48 | CNC Gantry Miling-1 | 10.30.170.43 | 1 | 560111 | 8899 | 787 | 4 | 10.30.170.76 | 1 | 8899 | 803 | CNC Gantry Miling-1 | 10.30.170.43 | 1 | 560111 | 560101 | 787 | 4 | 10.30.170.76 | 1 | 560101 | 803
49 | CNC Gantry Miling-2 | 10.30.170.44 | 1 | 560112 | 8899 | 788 | 4 | 10.30.170.77 | 1 | 8899 | 803 | CNC Gantry Miling-2 | 10.30.170.44 | 1 | 560112 | 560101 | 788 | 4 | 10.30.170.77 | 1 | 560101 | 803
50 | Bandsaw cutting-1 | 10.30.170.45 | 1 | 560115 | 8899 | 783 | 6 | 10.30.170.78 | 1 | 8899 | 803 | Bandsaw cutting-1 | 10.30.170.45 | 1 | 560115 | 560101 | 783 | 6 | 10.30.170.78 | 1 | 560101 | 803
51 | Shot Blasting Booth | 10.30.170.46 | 1 | 560118 | 8899 | 800 | 6 | 10.30.170.79 | 1 | 8899 | 803 | Shot Blasting Booth | 10.30.170.46 | 1 | 560118 | 560101 | 800 | 6 | 10.30.170.79 | 1 | 560101 | 803
52 | Painting Booth | 10.30.170.47 | 1 | 560119 | 8899 | 791 | 6 | 10.30.170.80 | 1 | 8899 | 803 | Painting Booth | 10.30.170.47 | 1 | 560119 | 560101 | 791 | 6 | 10.30.170.80 | 1 | 560101 | 803
53 | Baking Oven | 10.30.170.48 | 1 | 560120 | 8899 | 784 | 6 | 10.30.170.81 | 1 | 8899 | 803 | Baking Oven | 10.30.170.48 | 1 | 560120 | 560101 | 784 | 6 | 10.30.170.81 | 1 | 560101 | 803
54 | Plasma-Demo-1 | 10.30.170.49 | 2 | 560113 | 8899 | 774 | 5 | 10.30.170.82 | 1 | 8899 | 803 | Plasma-Demo-1 | 10.30.170.49 | 2 | 560113 | 560101 | 774 | 5 | 10.30.170.82 | 1 | 560101 | 803
55 | Plasma-Demo-2 |  | 1 | 560114 | 8899 | 785 | 5 | 10.30.170.83 | 1 | 8899 | 803 | Plasma-Demo-2 |  | 1 | 560114 | 560101 | 785 | 5 | 10.30.170.83 | 1 | 560101 | 803
56 | CNC Flame Cutting Filter System |  | 3 | Fume extractor | 8899 | 795 | 5 | 10.30.170.84 | 1 | 8899 | 803 | CNC Flame Cutting Filter System |  | 3 | Fume extractor | 560101 | 795 | 5 | 10.30.170.84 | 1 | 560101 | 803
57 | Compressor 75Hp |  | 4 | Compressor 75Hp | 8899 | 801 | 5 | 10.30.170.85 | 1 | 8899 | 803 | Compressor 75Hp |  | 4 | Compressor 75Hp | 560101 | 801 | 5 | 10.30.170.85 | 1 | 560101 | 803
58 | EB-MAIN | 10.30.170.33 | 5 | EB | 8899 | 816 | 5 | 10.30.170.86 | 1 | 8899 | 803 | EB-MAIN | 10.30.170.33 | 5 | EB | 560101 | 816 | 5 | 10.30.170.86 | 1 | 560101 | 803
59 | 125kvA Generator |  | 3 | DG1 | 8899 | 817 | 5 | 10.30.170.87 | 1 | 8899 | 803 | 125kvA Generator |  | 3 | DG1 | 560101 | 817 | 5 | 10.30.170.87 | 1 | 560101 | 803
60 | 500kvA Generator |  | 4 | DG2 | 8899 | 818 | 5 | 10.30.170.88 | 1 | 8899 | 803 | 500kvA Generator |  | 4 | DG2 | 560101 | 818 | 5 | 10.30.170.88 | 1 | 560101 | 803
61
62

## PLC_register
MESSER
SlNo | Parameter | PLC Reg | ModBus Reg | Data Type
PLC to IOT
1 | Machine Status | D2000 | 406097 | Dword
2 | Run Time | D2002 | 406099 | Dword
3 | Stop time | D2004 | 406101 | Dword
4 | Production | D2006 | 406103 | Dword
5 | Current Stop Code | D2008 | 406105 | Dword
6 | Cur_Stop_Begin_Time-HH | D2010 | 406107 | Dword
7 | Cur_Stop_Begin_Time-MM | D2012 | 406109 | Dword
8 | Cur_Stop_Begin_Time-SS | D2014 | 406111 | Dword
9 | Cur Stop Duration | D2016 | 406113 | Dword
10 | Stop Code Enable Status | D2018 | 406115 | Dword
11 | Handling Time Actual | D2020 | 406117 | Dword
12 | Minor Stoppage Time Actual | D2022 | 406119 | Dword
13 | Power Fail | D2024 | 406121 | Dword
14 | Heart Beat | D2026 | 406123 | Dword
15
16 | Machine Interlock set/Reset | D2028 | 406125 | Dword
17 |  | D2030 | 406127 | Dword
18 | Conditonal Parameter1 | D2032 | 406129 | Dword
19 | Conditonal Parameter1 | D2034 | 406131 | Dword
20 | Temperature Controller Set Value | D2036 | 406133 | Dword
21 | Temperature Controller Present Value | D2038 | 406135 | Dword
22 | Spare | D2040 | 406137 | Dword
23 | Spare | D2042 | 406139 | Dword
24 | Spare | D2044 | 406141 | Dword
25 | Spare | D2046 | 406143 | Dword
26 | Shift 1 Run Command | D2048 | 406145 | Dword
27 | Shift 1 Stop Command | D2050 | 406147 | Dword
28 | Shift 2 Run Command | D2052 | 406149 | Dword
29 | Shift 2 Stop Command | D2054 | 406151 | Dword
30 | Shift 3 Run Command | D2056 | 406153 | Dword
31 | Shift 3 Stop Command | D2058 | 406155 | Dword
32 | Watts Total | D2060 | 406157 | Float
33 | Watts R phase | D2062 | 406159 | Float
34 | Watts Y phase | D2064 | 406161 | Float
35 | Watts B phase | D2066 | 406163 | Float
36 | PF Avg(inst) | D2068 | 406165 | Float
37 | PF R phase | D2070 | 406167 | Float
38 | PF Y phase | D2072 | 406169 | Float
39 | PF B phase | D2074 | 406171 | Float
40 | VA total | D2076 | 406173 | Float
41 | VA R phase | D2078 | 406175 | Float
42 | VA Y phase | D2080 | 406177 | Float
43 | VA B phase | D2082 | 406179 | Float
44 | VLL average | D2084 | 406181 | Float
45 | Vry phase | D2086 | 406183 | Float
46 | Vyb phase | D2088 | 406185 | Float
47 | Vbr phase | D2090 | 406187 | Float
48 | VLN average | D2092 | 406189 | Float
49 | V R phase | D2094 | 406191 | Float
50 | V Y phase | D2096 | 406193 | Float
51 | V B phase | D2098 | 406195 | Float
52 | Current average | D2100 | 406197 | Float
53 | Current R phase | D2102 | 406199 | Float
54 | Current Y phase | D2104 | 406201 | Float
55 | Current B phase | D2106 | 406203 | Float
56 | Frequency | D2108 | 406205 | Float
57 | Wh received | D2110 | 406207 | Float
58 | VAh received | D2112 | 406209 | Float
59 | spare | D2114 | 406211 | Float
60 | spare | D2116 | 406213 | Float
61 | spare | D2118 | 406215 | Float
62 | spare | D2120 | 406217 | Float
63 | spare | D2122 | 406219 | Float
64 | spare | D2124 | 406221 | Float
65 | spare | D2126 | 406223 | Float
66 | spare | D2128 | 406225 | Float
67 | spare | D2130 | 406227 | Float
68 | Current Shift | D2132 | 406229 | Float
69 | PLC Run/Stop mode | D2134 | 406231 | Float
70 | PLC Current Scan Time | D2136 | 406233 | Float